9/8/22 – 969 Site Visit

* Pallets stacked outside Unit A (IMG\_3853)
* Persistent drainage issue as well as damaged bumper blocks outside Unit A loading dock (IMG\_3854)
* Pavement damage and water ponding in NE corner lot associated with water main break (IMG\_3857)